## Off-grid Inverter Benchmark
Brand | WeVolt | Growatt | Luxpower | INVT | Voltronic | Voltronic | Voltronic
Model | LVS6000Ⅱ | SPF6000ESPlus | SNA 6000W | XN5548 & 5548-P | Axpert King Ⅱ Twin 6KW | Axpert MK4 Twin 6KW | Axpert VM Ⅲ Twin 6KW
Rated Power | 6000W | 6000W | 6000W | 5500W | 6000W | 6000W | 6000W
Max. PV Input Power | 8000W | 8000W | 8000W | 5500W | 6000W | 6000W | 6000W
MPPT Operating Voltage Range | 85VDC-450VDC | 120VDC-450VDC | 100VDC-480VDC | 120VDC-450VDC | 120VDC-430VDC | 120VDC-500VDC | 60VDC-500VDC
Number of AC Outputs | 2 | 1 | 1 | 1 | 2 | 1 | 1
Max. Charge / Discharge Current | 120A/130A | 100A | 60A | 110A | 120A | 120A | 120A
Surge Power / Peak Power | 12000W, 5 seconds | 12000VA | - | 11000VA | - | 12000W | 12000W
Efficiency | 94% | 93% | 93% | 94% | Line Mode:94% CEO Mode:98% Battery Mode:92% | 93% | 90%-93%
IP Rating / Ingress Protection | IP54 | IP20 | IP20 | IP21 | IP20 | IP20 | IP20
Communication Interfaces | RS232/RS485/DRY CONTACT/WIFI | RS232/RS485/DRY CONTACT/WIFI | RS232/RS485/DRY CONTACT/WIFI | RS232 / RS485 | RS232/RS485/DRY CONTACT/WIFI | RS232/RS485/DRY CONTACT/WIFI | RS232/RS485/DRY CONTACT/WIFI
Max. Parallel Units | 12 | 6 | 16 | 6 | 9 | 9 | -
Warranty | 5 Year (3-Year Placement & 2-Year Repair) | 2 Years | 2 Years | 2 Years | 2 Years | 2 Years | 2 Years